## Diag Report
Tancy Ultrasonic Gas Flow Meter Diagnostic Report
General Information
| Meter Type | [5 empty] | Start Time
| Serial Number | [5 empty] | End Time
| Number Path | [5 empty] | Record Length
| Internal Diameter | [5 empty] | Firmware Version
| Wi-Fi IP Address | [5 empty] | Software Version
| Ethernet IP Address | [5 empty] | Meter Time
Meter Information
| Qm |  |  |  | m3/h |  | Profile factor
| Average Velocity |  |  |  | m/s |  | Swirl |  |  |  | °
| Vm Fwd |  |  |  | m3 |  | Asymmetry
| VmE Fwd |  |  |  | m3 |  | Plane balance
| Vm Rev |  |  |  | m3 |  | Average SOS |  |  |  | m/s
| VmE Rev |  |  |  | m3 |  | AGA 10 SOS |  |  |  | m/s
Diagnostic Information
| Good(%) | Measured | Upper Limit | Lower Limit |  | status
Path1
Path2
Path3
Path4
Path5
Path6
Path7
Path8
| SOS | Measured | Maximum | Minimum | Deviation | Status
Path1
Path2
Path3
Path4
Path5
Path6
Path7
Path8
Wavg
AGA 10
| Vel | Measured | Maximum | Minimum
Path1
Path2
Path3
Path4
Path5
Path6
Path7
Path8
WAvg
| AGC(dB) | Measured | Upper Limit | Status | Split Limit | Status
Path1 Up
Path1 Dn
Path2 Up
Path2 Dn
Path3 Up
Path3 Dn
Path4 Up
Path4 Dn
Path5 Up
Path5 Dn
Path6 Up
Path6 Dn
Path7 Up
Path7 Dn
Path8 Up
Path8 Dn
Tancy Ultrasonic Gas Flow Meter Diagnostic Report
Diagnostic Information
| SNR | Measured | Lower Limit |  |  | Status
Path1 Up
Path1 Dn
Path2 Up
Path2 Dn
Path3 Up
Path3 Dn
Path4 Up
Path4 Dn
Path5 Up
Path5 Dn
Path6 Up
Path6 Dn
Path7 Up
Path7 Dn
Path8 Up
Path8 Dn
|  | Measured | Upper Limit | Lower Limit |  | Status
Profile Factor
Swirl Angle
Plane Balance
Asymmetry
Data Information
| Base Data | [5 empty] | Gas Component
| Pressure |  |  |  | Bar(a) |  | N2 | Nitrogen |  |  |  | %
| Temperature |  |  |  | ℃ |  | CH4 | Methane |  |  |  | %
[7 empty] | CO2 | Carbon Dioxide |  |  |  | %
| Average SOS |  |  |  | m/s |  | C2H6 | Ethane |  |  |  | %
| AGA 10 SOS |  |  |  | m/s |  | C3H8 | Propane |  |  |  | %
| Deviation SOS |  |  |  | % |  | i-C4H10 | i-Butane |  |  |  | %
[7 empty] | n-C4H10 | n-Butane |  |  |  | %
| Qm |  |  |  | m3/h |  | i-C5H12 | i-Pentane |  |  |  | %
| Average Vel |  |  |  | m/s |  | n-C5H12 | n-Pentane |  |  |  | %
| Vm Fwd Counter |  |  |  | m3 |  | n-C6H14 | n-Hexane |  |  |  | %
| VmE Fwd Counter |  |  |  | m3 |  | nC7 | n-Heptane |  |  |  | %
| Vm Rev Counter |  |  |  | m3 |  | nC8 | n-Octane |  |  |  | %
| VmE Rev Counter |  |  |  | m3 |  | nC9 | n-Nonane |  |  |  | %
[7 empty] | nC10H22 | n-Decane |  |  |  | %
[7 empty] | H2O | Water |  |  |  | %
[7 empty] | H2S | Hydrogen Sulfide |  |  |  | %
[7 empty] | H2 | Hydrogen |  |  |  | %
[7 empty] | CO | Carbon Monoxide |  |  |  | %
[7 empty] | O2 | Oxygen |  |  |  | %
[7 empty] | He | Helium |  |  |  | %
[7 empty] | Ar | Argon |  |  |  | %
Tancy Ultrasonic Gas Flow Meter Diagnostic Report
Parameter
| Meter Body | [5 empty] | Limit
| Internal Diameter |  |  | m |  |  | Sample Number
| Path |  | Length | Angle(°） | Location |  | Speed of Soud
| Path1 | [5 empty] | Low Limit |  | 300 |  | m/s
| Path2 | [5 empty] | Upper Limit |  | 500 |  | m/s
| Path3 | [5 empty] | Velocity of Gas
| Path4 | [5 empty] | Low Limit |  | -40 |  | m/s
| Path5 | [5 empty] | Upper Limit |  | 40 |  | m/s
Path6
Path7
Path8
| Transducer | [5 empty] | Sensor
| Path |  | Frequency(kHz) | Zero Value(ns) | Tau(us) |  | Temperature
| Path1 | [5 empty] | Pressure
Path2
Path3
Path4
| Path5 | [5 empty] | Low Flow Cut Off
| Path6 | [5 empty] | Cut Off Mode |  | Enabled
| Path7 | [5 empty] | Value |  |  |  | m3/h
Path8
| Correction | [5 empty] | Com Port
| Constant Factor | [5 empty] | Name | COM 1 | COM 2 | COM 3
| User Positive Meter Factor | [5 empty] | Line mode | RS 485 | RS 485 | RS 485
| User Negative Meter Factor | [5 empty] | Baudrate
[7 empty] | Data bits | 8 | 8 | 8
Parity
| Piece Wise | [5 empty] | Stop bits
| Forward |  |  | Reverse
| Q(m3/h) | Error(%) |  | Q(m3/h) | Error(%)
| 0 | 0 |  | 0 | 0
| 0 | 0 |  | 0 | 0
| 0 | 0 |  | 0 | 0
| 0 | 0 |  | 0 | 0
| 0 | 0 |  | 0 | 0
| 0 | 0 |  | 0 | 0
| 0 | 0 |  | 0 | 0
| 0 | 0 |  | 0 | 0
| 0 | 0 |  | 0 | 0
| 0 | 0 |  | 0 | 0
| 0 | 0 |  | 0 | 0
| 0 | 0 |  | 0 | 0
| 0 | 0 |  | 0 | 0
| 0 | 0 |  | 0 | 0
| 0 | 0 |  | 0 | 0
Frequency Output
| Name |  | Frequency Output1 |  |  |  | Name |  | Frequency Output2
| Output Type | [5 empty] | Output Type
| Full Scale |  |  |  | m3/h |  | Full Scale |  |  |  | m3/h
| Freq Full Scale |  | 3000 |  | Hz |  | Freq Full Scale |  | 3000 |  | Hz
| K-Factor |  |  |  | pulse/m3 |  | K-Factor |  |  |  | pulse/m3
| Inverse K |  |  |  | m3/pulse |  | Inverse K |  |  |  | m3/pulse
Digital Output
| Name |  | Digital Output1 |  |  |  | Name |  | Digital Output2
| Output Type | [5 empty] | Output Type
| Signature: |  |  |  | Date: